## Sheet1
BUILDING DISCRIPTION/ADDRESS | EQUIPMENT LOCATION AND DISCRIPTION | MANUFACTURE | MODEL NUMBER | SERIAL NUMBER | FILTERS | BELTS
RIVERVIEW CEMETERY SHOP/OFFICE | Radiant tube heater /SE corner | Roberts Gordon | BH100 length 30' | 2102-071-100-0026 | n/a | n/a
2925 NILES AVE. | Office furnace/SW corner, breakroom | Heil | NTC6075FBA1 | L994122159 | 16X25X1 | n/a
| Office AC unit/ outside breakroom dr | Heil | CA5524VKD3 | L994253605 | n/a | n/a
HOWARD ICE ARENA | Zamboni garage radiant heat | Roberts Gordan | BH100 | 1910-071-100-0031 | n/a | n/a
2414 WILLA DR. | Radiant Heater | Heat Star | 8060SPNG | 214962
6 units | Zamboni shop condensing boiler | Navien | NPE210A2 | 30895163BC11141814 807 821 813 811 | n/a | n/a
| Ice rink tube heat /east | Detroit Radiant Products | DX2-30-125N | 0401INTL542520001 | n/a | n/a
| Ice rink tube heat /west | Detroit Radiant Products | DX2-30-125N | 0401INTL542520002 | n/a | n/a
| Warming hut package unit/SE corner | Trane | YSJ120A45AH02 | 231411892L | 4)16X24X2
| Mezzanine unit heater/east | Trane | GPNDO20AEF100E | F03H36396 | n/a | n/a
| Mezzanine unit heater/west | Trane | GPNDO20AEF100E | F03H36395 | n/a | n/a
Electric supplemental heater | ERV 1 /Mezzanine | Greenheck | IEHE512 | 17749464 21B | 2)16X20X2 | D519
| Energy recovery cassette both units |  | ERC-3615-00 Part number 40360021A |  | 2) 16x20x2
Electric supplemental heater | ERV2 /Storage room | Greenheck | IEHE512 | 17749465 21B | 2)16x20x2 | 4L440R
Electric heat strip | Compressor room roof top unit | Trane |  | CST501 | 4)20X20X2 | 4L470
| Roof top package unit | RHEEM | RGEC2R036ADU10BAA | F152201137 | 4)16x16x2
| Radiant tube heater/locker room 1 | Roberts Gordon | BH-40 Length 10' | 2012-071-040-0004 | n/a | n/a
| Radiant tube heater/locker room 2 | Roberts Gordon | BH-40 Length 10' | 2012-071-040-0015 | n/a | n/a
| Radiant tube heater/storage room | Roberts Gordon | BH-40 Length 10' | 2012-071-040-0013 | n/a | n/a
| Radiant tube heater/locker room 3 | Roberts Gordon | BH-40 Length 10' | 2011-071-040-0013 | n/a | n/a
| Mezzanine domestic water heater/W | Lochinvar | CNR199-100-DF9-2 | ZG3465837 | n/a | n/a
| Mezzanine domestic water heater/W | Lochinvar | CNR199-100-DF9-2 | YD1287738 | n/a | n/a
| Cooling tower/North side of compressor room | Evapco | LSC-155E-1G | 16-795654 | n/a | B77
| Radiant tube heater/locker room 4 | Roberts Gordon | BH-40 Length 10' | 2012-071-040-0012
BUILDING DISCRIPTION/ADDRESS | EQUIPMENT LOCATION AND DISCRIPTION | MANUFACTURE | MODEL NUMBER | SERIAL NUMBER | FILTERS | BELTS
HOWARD ICE ARENA | Main Compressor room, Compressor |  | 8DP1-5000-TSK | 20D56440 | n/a | n/a
2414 WILLA DR. Cont. | Main Compressor room, Compressor |  | 8DP1-5000-TSK | 20G56567 | n/a | n/a
| Main Compressor room, Compressor |  | 8DP1-5000-TSK | 20D564001 | n/a | n/a
| Main Compressor room, Compressor |  | 8DP1-5000-TSK | 20G56566 | n/a | n/a
| Main Compressor room, Circ. Pmp. 1 |  |  |  | n/a | n/a
| Main Compressor room, Circ. Pmp. 2 |  |  |  | n/a | n/a
| Main Compressor room, Circ. Pmp. 3 |  |  |  | n/a | n/a
| Main Compressor room, Circ. Pmp. 4 |  |  |  | n/a | n/a
| Main Compressor room, sensor and ventilation | Sentech Corporation | SNIF1,2,3 | 2K3713 | n/a | n/a
FIRE STATION | Rooftop unit/north | Lennox | KGA036S4DS2Y | 5613KO9449 | 4) 16X20X2 | n/a
923 BROAD ST. | Rooftop unit/south | Rheem | RGEDZ5090ACB20BAA | F261800651 | 4)20X20X2 | n/a
| Rooftop mini split | Fujitsu | A0U24RLX | CTN008885 | n/a | n/a
| Room off garage mini split cassette | Fujitsu | AUU24RCLX |  | n/a | n/a
| Garage radiant heat/NW, garage | Roberts-Gordan | CRV-B8 | 9404-002-080-0147 | n/a | n/a
| Garage radiant heat/W, garage | Roberts-Gordan |  |  | n/a | n/a
| Garage radiant heat/NE, garage | Roberts-Gordan |  |  | n/a | n/a
| Garage radiant heat/E, garage | Roberts-Gordan |  |  | n/a | n/a
| Rooftop ventilator/living quarters | Cook | 100C2B | n/a | n/a | n/a
| Rooftop ventilator/living quarters | Cook | 100C2B | n/a | n/a | n/a
| Rooftop ventilator/living quarters | Cook | 100C2B | 205s35378300/0002201 | n/a | n/a
| Rooftop ventilator/living quarters | Cook | 100C2B | 205sJ35378300/2202 | n/a | n/a
| Rooftop ventilator/living quarters | Cook | 100C2B | " "/2203 | n/a | n/a
| Rooftop ventilator/tower | Cook | 100C2B | " "/2204 | n/a | n/a
| Rooftop ventilator/living quarters | Cook | 135C4B | 205s36537000491000 | n/a | n/a
| Rooftop ventilator/garage | Cook | 30X24V1 | n/a | n/a | n/a
BUILDING DISCRIPTION/ADDRESS | EQUIPMENT LOCATION AND DISCRIPTION | MANUFACTURE | MODEL NUMBER | SERIAL NUMBER | FILTERS | BELTS
FIRE STATION | Garage exhaust fume Ventilator/east | Niederman | 9953300128 |  | n/a | n/a
923 BROAD ST. Cont. | Domestic water heater/utility closet | State | G5675XrrS400 | 1919114875073 | n/a | n/a
Not in use | Hot water circulating pump/utility clst | Grundfos | Type UP15-29SF | P/N 59896771 P1 | n/a | n/a
| Air compressor/ laundry room | Ingersoll Rand | TS5 | NAR11027972
MEMORIAL HALL/CURIOUS KIDS | Furnace/ at top of front stairs | Lennox | CX3548L6F1 Air Filter in Hall | 6016J30146 | 20X25X1 | n/a
415 LAKE BLVD. | AC condenser/SW corner near porch | Lennox | 13ACXN060-230-19 | 19I6G32590 | n/a | n/a
| Furnace/Basement of N addition | Ameristar | M4CXC061BDICAAA | 15206262M | 16X25X1 | n/a
| AC condenser/SW corner of N addition | Ameristar | M4AC3060B1000N | 152730157M | n/a | n/a
| Furnace/RH of basement utility room | Ameristar | M4CXC042BB1CAAA | 132930915M | 16X25X1 | n/a
| Furnace/LH of basement utility room | Lennox | CX35-48C-6F-20 | 1521D40514 | 20X25X4 | n/a
| LH AC unit/ NE corner near elevator | Ameristar | M4AC3043B1000NA | 181960340M | n/a | n/a
| RH AC unit/NE corner near elevator | Lennox | 13ACXN048-230-23 | 1921G10946 | n/a | n/a
BUILDING DISCRIPTION/ADDRESS | EQUIPMENT LOCATION AND DISCRIPTION | MANUFACTURE | MODEL NUMBER | SERIAL NUMBER | FILTERS | BELTS
CITY HALL | Hydronic system boiler/penthouse | Lochinvar | FTX850N | 2204127893373 | n/a | n/a
700 BROAD ST. | Hydronic system boiler/penthouse | Lochinvar | FTX850N | 22041278933371 | n/a | n/a
| Domestic water heater/penthouse | State | GS6-75-XRRS 400 | 2433140279998 | n/a | n/a
| Domestic circulating pmp/penthouse | Bell & Gossett | 189034 | n/a | n/a | n/a
| Air handler1 /penthouse (RH) | Trane | MCCA017 |  | 6)20X20 bag 4)16X25X2 6)16X20X2 | BX52 3)B-35
| Air handler2 /penthouse (LH) | Trane | MCCA017 |  | 6)20X20 bag 4)20X25X2 6)20X20X2 | 2)AX51 3)B-35
| Rooftop condenser | Carrier | 38APD03064A18180 | 0920Q67211 | n/a | n/a
| Rooftop condenser | Carrier | 38APD02764A18180 | 0920Q67207 | n/a | n/a
| Rooftop ventilator | Cook | 195C6B | EF1 | n/a | n/a
| Rooftop ventilator | Cook | 24X24VR | ER2 | n/a | n/a
| Rooftop ventilator | Cook | 42X48VR | ER1 | n/a | n/a
| Generator room ventilator |  |  |  | n/a | n/a
| Generator room unit heater | Trane | GHND003ADE1000E | A97F37610 | n/a | n/a
| Unit heater above AHU1/penthouse | Trane | GHND007ADE1000E | A97F37608 | n/a | n/a
| Unit heater above AHU2/penthouse | Trane | GHND007ADE1000E | A97F37609 | n/a | n/a
| Cabinet heater/basement,E stairwell | Trane | FFHB0401AH0C0C20AG2M000001000BB0000000F00000 | T97D19204 | 33.75X8.5X1 | n/a
| Cabinet heater/basement,w stairwell | Trane | FFHB0601BH0COC20AG2M000001000BB0000000F00000 | T97D19201 | 33.75X8.5X1 | n/a
| Cabinet heater/inspections entryway | Trane | FFBB0401AH0A0C20AG2M000001000BB0000000000000 | T97D19203 | 24.25X8.75X1 | n/a
| Cabinet heater/main entryway | Trane | FFHB0401AH0C0C20AG2M000001000BB0000000B00000 | T97D19202 | 24.25X8.75X1 | n/a
| Cabinet heater/ 2nd rear entryway | Trane | FFHB0401AH0C0C20AG2M000001000BB0000000K00000 | T97D19205 | 23.5X8.5X1 | n/a
BUILDING DISCRIPTION/ADDRESS | EQUIPMENT LOCATION AND DISCRIPTION | MANUFACTURE | MODEL NUMBER | SERIAL NUMBER | FILTERS | BELTS
PUBLIC WORKS/SIGN SHOP | Rooftop package unit/office roof | Rheem | RKPN-A036JK12E | F131901311 | 2)16X25X2
1160 BROAD ST. | Rooftop package unit/office roof | Rheem | RGEC2-R04AAJT12BAA | F332101522 | (4) 16x16x2
| Furnace/ sign shop utility closet | Goodman | GMNT060-3 | 206619393 | 16X25X1 | n/a
| Radiant tube heater/sign shop garage | 2- Roberts Gordon | BH80 length 20' | 2102-071-080-0051 | n/a | n/a
| Radiant tube heater/sign shop garage | 2- Roberts Gordon | BH80 length 20' | 2102-071-080-0047 | n/a | n/a
| Radiant tube heater/facilities garage | Roberts Gordon | BH175 length 60' |  | n/a | n/a
| Radiant tube heater/parks garage | Roberts Gordon | BH175 length 50' | 2102-071-175-0023 | n/a | n/a
| Radiant tube heater/water dept. East | Superior Radiant Product | UA205 | 191322 | n/a | n/a
| Radiant tube heater/water dept. West | Superior Radiant Product | UA205 | 191321 | n/a | n/a
| Radiant tube heater/equip. garage N | GordanRay/Omega2 | 2410-115-05 | 1798 | n/a | n/a
| Radiant tube heater/equip. garage NE | GordanRay/Omega2 | 2410-115-05 | 1794 | n/a | n/a
| Radiant tube heater/equip. garage SE | GordanRay/Omega2 | 2410-115-05 | 1799 | n/a | n/a
| Radiant tube heater/equip. garage SE | Superior Radiant Product | UA100 | 173805 | n/a | n/a
| Radiant tube heater/equip. garage SW | GordanRay/Omega2 | 2410-115-05 | 1800 | n/a | n/a
| Radiant tube heater/equip. garage NW | GordanRay/Omega2 | 2410-115-05 | 1795 | n/a | n/a
| Radiant tube heater/motor pool NE | GordanRay/Omega2 | 2405-115-03 | 1405 | n/a | n/a
| Radiant tube heater/motor pool SE | GordanRay/Omega2 | 2405-115-01 | 1313 | n/a | n/a
| Radiant tube heater/motor pool SW | GordanRay/Omega2 | 2405-115-05 | 1296 | n/a | n/a
| Radiant tube heater/motor pool NW | GordanRay/Omega2 | 2405-115-05 | 1797 | n/a | n/a
| Domestic water heater/wtr dept garg | State | GS675XRRS 300 | 1021M002850 | n/a | n/a
BUILDING DISCRIPTION/ADDRESS | EQUIPMENT LOCATION AND DISCRIPTION | MANUFACTURE | MODEL NUMBER | SERIAL NUMBER | FILTERS | BELTS
CITY CEMETERY
1918 LAKEVIEW AVE. | Mausoleum, west side | AAON | RQ-003-9-H-FA09-112 | 201705-AYEC03132 | 2)20X20X2 | n/a
WOODBINE LODGE | Furnace, in storage room | Rheem | RCF4821STAMCA | W471503997 | 1)10X30X1 1)14X14X1 | n/a
RIVERVIEW PARK, 2927 NILES RD | Condensing unit, outside, north side | Rheem | RP1448AJINA | W051513248 | n/a | n/a